Bloodborne Pathogens Exposure Control Program

2021

CONTENTS

I.		Purpose

II.		Scope

III.		Acronyms and Definitions

IV.		Responsibilities

V.		Engineering and Work Practice Controls

VI.		Personal Protective Equipment

VII. 		Cleanup and Decontamination

VIII. 		Labeling Containers

IX. 		Medical

X. 		Training

XI.		Recordkeeping

XII.		Consideration of Safer Medical Devices

XIII.		Disposal

XIV.		HIV & HBV Research Laboratories

Appendix A.	Post Exposure Form

Appendix B.	Informed Consent/Waiver form for HBV Vaccination

Utah State University

BLOODBORNE PATHOGEN

EXPOSURE CONTROL PLAN

for

______________________________________________

(Campus Unit and/or work area)

_______________________________

(Date last reviewed and updated)

_______________________________

(Date last reviewed and updated)

_______________________________

(Date last reviewed and updated)

_______________________________

(Date last reviewed and updated)

_______________________________

(Date last reviewed and updated)

_______________________________

(Date last reviewed and updated)

_______________________________

(Date last reviewed and updated)

_______________________________

(Date last reviewed and updated)

_______________________________

(Date last reviewed and updated)

Note: This is a boilerplate plan, and does not include all the specific information required by the OSHA standard.  Wherever you see an underlined blank section or a text box, you need to include specific information for the work you do.  This plan includes sections that may not be not applicable to you, if they are not, delete them before saving and printing out your specific Exposure Control Plan.   The plan must be updated annually, please send your updated plan to the EH&S office Training Manager/Biosafety Officer, UMC 8315.

I. PURPOSE

This plan is designed to minimize employee exposure to bloodborne pathogens.  All human blood and other potentially infectious materials are considered to be infectious for Human Immunodeficiency Virus (HIV), Hepatitis B virus (HBV), and Hepatitis C Virus (HCV) and will be treated as if infectious, i.e. with universal precautions. Since animal blood is not readily distinguished from human blood by appearance, if there is any doubt as to the material's origin, the material should be treated as if infectious.  This plan is also designed to meet requirements of the OSHA Bloodborne Pathogen Standard 29 CFR 1910.1030.

II. SCOPE

The following job classifications are those where all employees have potential for contact with human body fluids during some activity in their job description and are covered by this plan.  They are listed below.

*Job Classification

Job Title:

Job Title:

Job Title:

*Task(s) with Exposure Potential

The following job classifications are those where some employees have potential for contact with human body fluids during some activity in their job description and are covered by this plan.  They are listed below.

*Job Classification

Job Title:

Job Title:

Job Title:

*Task(s) with Exposure Potential

Copies of the plan for a given area must be accessible to employees.  This plan must be reviewed and updated annually, with the review date and whether changes were made recorded on the plan’s title page.  This specific plan will be located *

III. ACRONYMS AND DEFINITIONS

Blood - Human blood, including component and products.

EH&S - Utah State University Environmental Health & Safety Department

Exposure Incident - means a specific eye, mouth, non-intact skin, inoculation, or injection contact with blood or other potentially infectious materials that results from the performance of job duties.

Other Potentially Infectious Materials (OPIM) - semen, vaginal secretions, cerebrospinal fluid, synovial fluid, pleural fluid, peritoneal fluid, pericardial fluid, amniotic fluid, concentrated HIV and HBV viruses, and saliva in dental settings.

Regulated Waste - means any liquid or semi-liquid blood or other potentially infectious materials; contaminated items that would release blood or other potentially infectious materials in a liquid or semi-liquid state if compressed; items that are caked with dried blood or other potentially infectious materials and are capable of releasing these materials during handling; contaminated sharps; and pathological and microbiological wastes containing blood or other potentially infectious materials.

Universal Precautions - refers to a method of infection control in which all human blood and other potentially infectious materials are treated as if known to be infectious for HIV and HBV.  It does not apply to feces, nasal secretions, sputum, sweat, tears, urine or vomitus unless they contain visible blood.

IV. RESPONSIBILITIES

EH&S is responsible to provide oversight for the Bloodborne Pathogens program at the university, to provide initial and refresher training to employees, and to support each campus unit/department in setting up a specific written program that covers the group’s employees.

Each department/campus unit is responsible to modify and implement this program by adding the specific information requested throughout this program.  The department/campus unit is also responsible to ensure the program is maintained, that employees attend initial and refresher training, and that employees working with HIV or HBV receive additional training as required in section XI of this program.

Supervisors will ensure that the procedures of this plan are followed. This includes enforcing compliance with the plan, ensuring new employees are trained, and following procedures for incident exposures.

V. ENGINEERING AND WORK PRACTICE CONTROLS

Use puncture-proof containers to store sharps and biohazard labeled bags for other possibly contaminated items.

Hand washing facilities will be readily accessible to employees.  Employees will wash their hands immediately after removing gloves or other PPE.

Employees will wash their hands and any other skin with soap and water, and flush mucous membranes immediately following contact with blood or OPIM.

Eating, drinking, smoking, applying cosmetics or lip balm, and handling contact lenses are prohibited in work areas where there is a reasonable likelihood of occupational exposure.

Employees must perform all procedures involving blood or OPIM in such a manner as to minimize splashing, spraying, splattering, and generation of droplets of these substances.

No food or drink shall be kept in refrigerators, freezers, shelves, cabinets, or on countertops or bench tops where blood or other potentially infectious materials are present.

When differentiation between fluid types is difficult, all body substances will be treated as if contaminated with human blood and universal precautions will be followed.

Breaking or shearing of needles is prohibited.  Needles or other sharps will not be bent, recapped, or moved except as noted below:

1) 	The department can demonstrate that no alternative is feasible or that such action is required by a specific medical procedure.

2) 	The bending, recapping or needle removal must be accomplished using a mechanical device or a one-handed technique.

Immediately after use, contaminated sharps shall be placed in an appropriate container.  The container must be:

1)	 Puncture resistant

2)	 Properly labeled or color coded

3)	 Leakproof on the sides and bottom

Mouth pipetting/suctioning of blood or OPIM is prohibited.

Other controls specific to this work area:

VI. Personal Protective Equipment (PPE)

When occupational exposure remains after instituting engineering  controls, personal protective equipment (PPE) shall be utilized.  In accordance with CFR 1910.133, an assessment of the PPE needed to safely do work involving blood or OPIM shall be done.  The PPE shall be considered appropriate only if it does not permit blood or OPIM to reach employee’s clothing, skin, eyes, mouth, or mucous membranes under normal conditions of use and for the duration of time for which the PPE will be used.  The appropriate PPE shall be provided at no cost to the employee.  The assessment shall include, at a minimum, PPE needed to cover the hands and face.  When choosing gloves, latex or other surgical exam gloves are generally appropriate.  If workers show allergic reactions to a glove type, hypo-allergenic gloves (such as nitrile) will be made available.  PPE may extend to include items such as utility gloves, gowns, lab coats, face shields and masks, as well as other equipment. Employees are expected to:

-	Use the designated PPE

-Replace all PPE that becomes torn or punctured, or loses   ability to function as a barrier

-Remove all PPE before leaving the work area and put it in the   designated area or container for storage, cleaning,   decontamination, or disposal

Wear protective gloves if exposure to blood contaminated body substances is remotely probable.  Gloves will be worn for transporting biohazard containers.

Anytime gloves are worn, remove the gloves prior to touching anything else and use an antiseptic cleaner until hands can be washed with soap and water.  Utility gloves can be decontaminated with a freshly-made1:10 household bleach to water solution. Gloves showing signs of peeling, cracking, tearing, or puncturing, will be discarded and replaced with appropriate gloves.

The PPE determined to be needed and appropriate for (put your department/campus unit here) includes the following:

VII. CLEANUP AND DECONTAMINATION

Sharps -  Never pick up broken glass, needles, or other sharps without mechanical assistance (e.g. forceps, broom and dust pan).  Keep puncture-resistant containers available.  Any tools used to pick up sharps will be disinfected or disposed of as biological waste.

Disposal Containers - Must be labeled and closed during transport.  If there is a chance of leakage, an additional labeled container should be used. The containers must be disposed of as infectious waste or decontaminated.  Contact EH&S to arrange for disposal.

Hand washing - Hands and other skin surfaces should be washed as soon as possible if potentially contaminated.  Always wash hands after removing gloves.

Cleaning Spills - Wearing gloves and other protective equipment as needed for splashing, promptly clean the spill.  Absorb excess material with disposable towel then disinfect the area with a 10% household bleach and water solution.  The bleach solution must be left in contact with the contaminated work surface, tools, or objects for at least 10 minutes before cleaning.  Biohazard labeled bags should be available for the removal of contaminated material from the site.  Other disinfectants and cleaning procedures to be followed by the department include: *

Laundry - Contaminated laundry may be sent to a laundry facility in a red or labeled biohazard bag or treated in-house using specific protocols.

VIII. Labeling and Containers

Warning labels must be affixed to or an integral part of containers of regulated waste, refrigerators, freezers, and other containers used to store, transport or ship blood or OPIM. The labels must include the following legend:

The labels will be fluorescent orange or orange-red, with the letters and symbol a contrasting color.  Red bags or red containers may be used in the place of labels.

IX. MEDICAL

Hepatitis B vaccination

After initial training, Hepatitis B vaccine will be made available to all personnel who, during performance of job duties, have potential occupational exposure to blood and/or OPIM.  It will be made available within 10 working days after initial assignment. Vaccination costs will be borne by the supervising department and confidentiality will be ensured.  The USU Hepatitis B Vaccination informed Consent/Waiver form (Appendix B) must be filled out and signed by all employees described above.  If the employee initially declines the vaccine, and later while still doing the same job decides to accept it, the supervising department will make the vaccine available at that time.

Post Exposure Evaluation

A bloodborne pathogen exposure incident consists of:

1) 	Contact via mucous membrane (i.e. eye, nose, or mouth) with blood or OPIM or non-intact skin that results from the performance of job duties, or

2)	Injection or inoculation with blood or OPIM that results from the performance of job duties.

Immediately following any exposure incident and after decontamination, a confidential medical evaluation and follow-up will be made available to the employee.  The medical evaluation will be made by the Logan Regional Hospital Work Med Department during normal business hour or the Emergency Room during off hours. The incident should be reported to the supervisor immediately and a Worker Compensation Claim Form filled out. The top portion of a USU Bloodborne Pathogen Post Exposure Evaluation Form should be completed following the incident.  A copy of this form should go with the employee to the hospital. The Supervisor will report the incident to EH&S as soon as possible.  The supervisor should document circumstances of the exposure and measures to prevent recurrence.  A copy of the Post Exposure Evaluation Form and Supervisor’s report should be sent afterward to EH&S (UMC 8315). A telephone call should be made as soon as possible to the University of Utah Medical clinic at 801-585-2031.  Report the situation, and ask for Doctor Kristen Ries, Dr. Henry Rosado, Dr. Larry Reimer, or a physician that can assist you.  If no one answers the phone, call 800-662-0052. If calling after hours call 801-581-2121 and ask for the bloodborne pathogen doctor on call.

The follow-up will be paid for by workers compensation, or if not covered by workers compensation, the supervising department and includes the following:

1)	Completely filling out the USU Bloodborne Pathogen Post Exposure Evaluation Form

- Request testing of the source individual’s blood for HBV and HIV infectivity.  The consent must be in writing.  If consent is not given, attempt to have the source individual confirm the refusal in writing.  If it is already known that the source individual is infected with HIV or HBV, it is not necessary to test the source individual.

- Assure that once consent is given, that the source individual’s blood is tested as soon as is feasible.

- Ensure the source individual’s testing results are made available to the exposed employee.  Ensure the employee is informed of applicable laws and regulations concerning disclosure of the identity and infectious status of the source individual.

- Once the exposed employee consents, ensure a sample of their blood is collected.

- Once the exposed employee consents, ensure their blood is tested for HBV and HIV serological status.  If the employee does not consent at that time to have the blood tested, the sample must be preserved for at least 90 days.  If the employee consents to testing during that time, the testing will be done as soon as feasible.  If, after 90 days, the employee has not consented, the samples shall be disposed of as biological waste.

- Ensure post-exposure prophylaxis is provided when medically indicated

- Provide counseling to the exposed individual.

- Provide an evaluation of the reported illnesses, if any.

For Employees, a Workers Compensation claim must be filed with USU Personnel Services for the exposure incident.  For students and visitors, medical exam costs must be borne by the supervising department.

X. TRAINING

Training will be accomplished prior to beginning duties and repeated at least annually.  It will be offered to the employee during working hours and at no cost to the employee.  It will consist of:

1) 	Access to a copy of the OSHA Bloodborne Pathogen Standard and an explanation of its contents

2) 	A general explanation of epidemiology, symptoms, and mode of transportation of bloodborne diseases

3) 	An explanation of the modes of transmission of bloodborne pathogens

4)	An explanation of the boilerplate, the need to make it department-specific and how they can get a copy of it.

5) 	Ways to recognize tasks and activities that my involve potential exposure to blood and OPIM

6)	An explanation of engineering controls, work practices, and PPE that may reduce or prevent exposure, along with their limitations

7)	Information on the types, proper use, location, removal, handling, decontamination and disposal of PPE

8)	An explanation of how to select PPE

9)	Information on the HBV vaccine, including information on its efficacy, safety, method of administration, benefits of being vaccinated, and that the vaccination is offered free of charge

10) 	Information on appropriate action to take and persons to contact in an emergency involving blood or OPIM

11) 	An explanation of the procedure to follow if an exposure incident occurs, including how to report the incident and the medical follow-up that will be made available

12)	Information on the post-exposure evaluation and follow-up that will be provided

13) 	An explanation of the signs, labels, and color-coding that is being used

14)	An explanation of the Exposure Control Plan as well as an opportunity for interactive questions and answers with the person conduction the training

The training will be provided by EH&S.  Training dates and times will be available on the EH&S website (www.ehs.usu.edu).  Campus units and departments are responsible for scheduling initial and refresher training for all their employees.

Additional initial training is required for those employees working in HIV and HBV laboratories.  Compliance with these training requirements is the responsibility of the campus unit or department.  They must ensure the following:

1) 	That each employee demonstrate proficiency in standard microbiological practices and techniques and in the practices and operations specific to the facility before being allowed to work with HIV or HBV

2)	That each employee has prior experience in the handling of human pathogens or tissue cultures before working with HIV or HBV

3) 	A training program is provided to employees who have no prior experience in handling human pathogens.  Initial work shall not include the handling of infectious agents.  As technique is learned and proficiency gained and demonstrated, employees may then do work involving infectious agents

This specific training must be documented by the Principal Investigator of the project.

XI. RECORDKEEPING

Training records will be maintained by EH&S for at least 3 years.  The training record will include:

1)	The date(s) of the training session

2) 	The contents or a summary of the training session

3)	The names and qualifications of the person(s) doing the training

4)	The names and job titles of all persons attending the training session

The Principal Investigator or supervisor shall maintain records of additional training for all employees who work with HIV or HBV.  The Principal Investigator or supervisor shall also maintain the HBV Informed Consent/Waiver form and any records relating to exposure incidents.  Medical Records will be maintained for the duration of employment plus 30 years.

XII. CONSIDERATION OF SAFER MEDICAL DEVICES

Those departments using needles and other medical devices in the course of their work must evaluate what safer devices are available for use.  These safer medical devices shall be considered for use, those considered are listed below.  A rationale for using or not using the available devices is also listed below.

XIII. DISPOSAL

Bodies and or Body Parts

Bodies and or body parts are to be placed within an "Autoclavable Biohazard" bag.  The bag is to be sealed with heat/steam penetration indicator tape and autoclaved at 2500F, at 20 psi for at least 30 minutes.  Following sterilization, the bodies and or parts are to be incinerated at the Necropsy Laboratory (Individual researchers should contact the Veterinary Diagnostic Laboratory at 797-1895).

Body Fluids

Body fluids are to be in appropriate individual containers and placed within an "Autoclavable Biohazard" bag.  The bag is to be sealed with heat/steam penetration indicator tape and autoclaved at 2500F, at 20 psi for at least 30 minutes.  Following sterilization the liquid may be disposed of in the regular trash.

Non-Sharp Laboratory Trash

The Non-Sharp laboratory trash is to be placed within an "Autoclavable Biohazard" bag.  The bag is to be sealed with heat/steam penetration indicator tape and autoclaved at 2500F, at 20 psi for at least 30 minutes.  Following sterilization the Non-Sharp Laboratory Trash can be disposed of through the municipal waste system.

Sharps Laboratory Trash

Sharps laboratory trash must be placed in approved "Sharps Disposal Box", and appropriately labeled.  The containers of sharps are to be autoclaved at 2500F, at 20 psi for at least 30 minutes.

The now noninfectious containers of sharps should be placed in a receptacle of at least 2 ft3 and stored until filled.  When the receptacle is filled contact the Environmental Health and Safety Office (EH&S extension 2892) for pick-up.

All biohazardous waste that is appropriately autoclaved and then disposed of in dumpsters outside buildings must have positive indicators on the waste showing it was autoclaved.

XIV. HIV and HBV RESEARCH LABORATORIES

This section covers additional requirements for laboratories culturing, producing, concentrating, manipulating, and experimenting with HIV or HBV.  The following practices shall be followed.

1) 	All regulated waste shall be either incinerated or autoclaved.

2)	Laboratory doors shall be kept closed when work involving HIV or HBV is in progress.

3) 	Contaminated materials to be decontaminated outside the laboratory will be placed in durable, leak proof, labeled or color-coded container that is closed before being removed from the laboratory.

4) 	Only authorized personnel shall be able to access the work area.  Written policies and procedures shall be established whereby only persons who have been advised of the potential biohazard, who comply with all lab-specific entry and exit procedures, shall be allowed to enter the work areas and animal rooms.

5) 	When OPIM or infected animals are present in the work area, a hazard warning sign incorporating the universal biohazard symbol shall be posted on all access doors.

6)	All activities involving OPIM shall be conducted in biological safety cabinets or other physical-containment devices within the laboratory.  No work with these OPIMs shall be conducted on the open bench.

7) 	Laboratory coats, gowns, smocks, uniforms, or other appropriate protective clothing shall be used in the work area and animal rooms.  The protective clothing shall not be worn outside the work area and shall be decontaminated before being laundered.  The specific clothing and decontamination procedures required shall be designated by the laboratory’s Principal Investigator.  The clothing required is listed below.

8) 	Gloves shall be worn when handling infected animals and when hand contact with potentially infectious materials is unavoidable.  Special care will be taken to avoid skin contact with these materials.

9) 	Before disposal, all waste from work areas and animal rooms shall be either incinerated or autoclaved to effectively destroy the bloodborne pathogens.  Specific parameters for autoclaving are as follows:_______ psi,  ________F, ________ minutes.

10) 	Vacuum lines shall be protected with liquid disinfectant traps and high-efficiency particulate air (HEPA) filters.  The disinfectant and filters will be routinely checked and maintained or replaced according to the following schedule:*

11) 	Hypodermic needles and syringes shall be used only for parenteral injection and aspiration of fluids from laboratory animals and diaphragm bottles.  Only needle-locking syringes or disposable syringe-needle units shall be used for the injection or aspiration of OPIM.  Extreme caution shall be used when handling needles and syringes.  Needles shall not be bent, sheared, replaced in the sheath or guard, or removed from the syringe following use.  The needle and syringe shall be promptly placed in a puncture-resistant container and autoclaved before reuse or disposal.

12) 	All spills shall be immediately contained and cleaned up by professional staff or those properly trained and equipped to do so.  The personnel able clean up spills for the lab include the following: ________________________________________________________________________________________________________________________________________________

13) 	A spill or accident that results in an exposure incident shall be immediately reported to the Principal Investigator or other responsible person.  The Principal Investigator for this laboratory is ____________, another responsible person to whom an exposure incident can be reported is ______________.

14)	A biosafety manual will be prepared and periodically reviewed.  The manual shall be updated at least annually.  Personnel shall be required to read the practices and procedures applicable to their work and be required to follow them.  EH&S will provide support and review of the biosafety manual.

The following containment equipment must be available and used in the laboratory:

1) 	Certified biological safety cabinets or other appropriate combinations of personal protection or physical containment devices, such as special protective clothing, respirators, centrifuge safety cups, sealed centrifuge rotors, and containment caging for animals, will be used for activities with OPIMs that pose a threat of exposure to droplets, splashes, spills, or aerosols.

2) 	Any biological safety cabinets will be certified when installed, whenever they are moved, and at least annually.

3) 	The laboratory shall contain a facility for hand washing and an eyewash facility that is readily available.

4)	An autoclave for decontaminating regulated waste shall be available.

APPENDIX A

Utah State University

BLOODBORNE PATHOGEN POST EXPOSURE FORM

_____________________________	_________________________		_____________________

Name of Employee			Social Security Number			Date of Exposure

_____________________________	_________________________

USU Department			Date of Hepatitis B Vaccination

_____________________________	_________________________

Supervisor's Name			Phone Number

Circumstances of Exposure:

______________________________________

Name or Description of Exposure Source

______________________________________	______________________________________

HIV Status  of Source				Hepatitis B Status of Source

___________________________________________

Signed

------------------------------------------------------------------------------------------------------------------

Workers Compensation______ (Check this box if patient is a USU employee)

Follow up lab tests:

Test:                                                                                                              Date:

Test:                                                                                                              Date:

Test:                                                                                                              Date:

Test:                                                                                                              Date:

Test:                                                                                                              Date:

Follow-up counseling performed?

Employee?____

Spouse?  ____

Signature of Responsible Person:

Appendix B

INFORMED CONSENT/WAIVER

Hepatitis B Vaccination

Reference:	OSHA Bloodborne Pathogens Standard, Code of Federal Regulations (CFR), 29 CFR 1910.1030

I understand that due to my occupational exposure to blood or other potentially infectious materials (OPIM), I may be at risk of acquiring Hepatitis B virus (HBV) infection.  I have been given the opportunity to be vaccinated with the Hepatitis B vaccine, at no charge to myself.  My response to this offer is:

(EMPLOYEE: Read over the three possible responses below and strike out the items that do not apply.  Place your initials and the date after the item you select, then date, sign, and print your full name at the bottom of the page.  You must select one of these responses.)

I accept the offer.  I will make myself available to receive a series of three (3) inoculations, to be administered as soon as practicable, and at one (1) and six (6) months after the initial dose.  I understand that I will be paid at the regular rate for my time when I receive the inoculations.

I decline the Hepatitis B vaccination at this time.  I understand that by declining this vaccination, I continue to be at risk of acquiring Hepatitis B, a serious disease.  If in the future, I continue to have occupational exposures to blood or other potentially infectious materials and I want to be vaccinated with the Hepatitis B vaccine, I can receive the vaccination series at no charge to me.

I have previously received the three shoot Hepatitis B vaccination series.

(Signed):_______________________________________________    Date:_________________

(Print name):___________________________________________